Determination of perfluorooctanoic acid (PFOA) and perfluorooctane sulfonic acid (PFOS) in paper-based food packaging samples

Tran Thi Lieu1,2, Kieu Thi Lan Phuong3, Do Thi Thu Hang3, Hoang Quoc Anh1,  Nguyen Quynh Hoa4, Le Huu Tuyen1, Nguyen Thi Anh Huong1, Dang Thu Hien3†

1University of Science, Vietnam National University, Hanoi, Vietnam

2Viet Nam National Institute of Occupational Safety and Health (VNNIOSH), Hanoi, Vietnam

3National Institute for Food Control, Hanoi, Vietnam

4Faculty of Chemical Technology and Environment, Hung Yen University of Technology and Education, Hung Yen, Vietnam

(Received: 10/08/2022; Accepted: 16/9/2022)

Abstract

In this study, a method for simultaneous determination of perfluorooctanoic acid (PFOA) and perfluorooctane sulfonic acid (PFOS) by liquid chromatography–tandem mass spectrometry (LC-MS/MS) in paper-based food packaging was validated. The paper samples were extracted with ethanol/water (1 : 1, v/v) mixture at 70°C for 2 h by using an incubator shaker. The extracts were passed through 0.2-μm filters before LC-MS/MS analysis. Method detection limit and method quantification limit of both PFOA and PFOS was 0.1 and 0.3 ng/g, respectively. Correlation coefficients R > 0.99 were obtained over concentration ranges from 0.3 to 10 ng/mL. The method recovery ranged from 100 - 106% with good repeatability (RSD < 5%). The method was applied to analyze 23 paper samples, however, PFOA and PFOS were not detected in any of these samples.

Keywords: PFOA, PFOS, paper-based food packaging, LC-MS/MS.

# Footnotes

| *Điện thoại: 0946593969 †Điện thoại: 0912016181 | Email:nguyenthianhhuong@hus.edu.vn Email: dangthuhien153@gmail.com |
| --- | --- |